Protocol for Illumina 2bRAD sample preparation

Modified by Edwards Lab

Galina Aglyamova (aglyamova@austin.utexas.edu) Mikhail Matz (matz@utexas.edu)

Last updated: July 9 2014

Modified by Edwards Lab August 11 2016

*November 17 2015- old version, corrected errors within pooling ligations into 12-plex group step.

Overview

This is a modification of the protocol described in Wang et al, Nature Methods

2012 2b-RAD paper (doi:10.1038/nmeth.2023) re-designed for Illumina HiSeq and BcgI enzyme (https://www.neb.com/products/R0545-BcgI).

1.  Restriction digest. Genomic DNA is digested with a type IIB restriction enzyme to produce restriction fragments of uniform length.

2.  Ligation. Adaptors, barcoded for 3’ end and generic for 5’, are ligated to the cohesive ends generated by restriction digest. Overnight ligation at +4°C, then heat-inactivate the ligase for 10 min at 65oC.

3.  Pool ligations with different 3’ barcodes into groups of 12 (because we have

12 different 3’ ligation adapters). Determine proportions from gel picture

(regular pcr) or by qPCR.

4.  Amplification and barcoding of pooled ligations.

5.  Purification of the target 170 bp band by gel-electrophoresis (the only purification step in the whole procedure).

6.  Quantification and mixing in equal proportions.

Digest

- Prepare a 4 µl high-quality genomic DNA sample containing 200-500 ng DNA. Samples concentrated using a speedvac with temperature turned off. Ideally, samples should have the same amount of DNA.

2.  Prepare a digestion master mix.  The following recipe is for a single reaction, so multiply by the number of samples plus some small amount for pipetting error.

NEB Buffer #3        0.6 µl

150 µM SAM            0.4 µl

BcgI (1 U µl-1)        0.5 µl

H2O 			  0.5 µl

3.  Combine 2 µl master mix with each 4 µl DNA sample (6 µl total volume).

Cover this preparation with a drop of mineral oil. Incubate at 37°C 1 hr. Inactivate the enzyme at 65°C for 20 min. Hold samples on ice.

4.  To increase digestion efficiency add 0.5 µl of enzyme after the initial 1h incubation and incubate for one more hour before heat-inactivation.

*The key criterion for whether the library is good is the number of PCR cycles required to amplify the target band, later in the protocol – it should be 15 or less for full-representation 2bRAD

Ligation

In this step adaptors are ligated to the restriction fragments produced above.

1.  Prepare double stranded adaptors by combining each pair of primers

(illBC-ii, antiBC-ii). The oligonucleotide combination used for each alternative

2b-RAD preparations and sequences of each oligo are provided at the end of this document.

For generic Adaptor 1, mix 5Ill-NN (10 µM) with the same volume of anti-Ill

(10 µM).

For barcoded Adaptor 2, mix each par: 3IllBC(1-12) (10 µM) with the same volume of antiBC(1-12) (10 µM).

Incubate at 42°C in thermocycler for 10 minutes then keep at room temperature until

ligation.

2.  Prepare 12 master mixes for ligations (one for each barcoded 3’ primer).

This recipe is for a single reaction, so scale up as needed.

10 mM ATP                          0.5 µl

10X T4 ligase buffer              2.0 µl

5 µM Adaptor 1                    1.0 µl

5 µM Adaptor 2(1-12)            1.0 µl

T4 DNA ligase (NEB M0202L)  1.0 µl

NFW (nuclease-free water)    14.5 µl

3.  Combine 20 µl master mix with the remaining 5 µl of digested DNA (25 µl total volume).  Incubate at 16°C for 16 hours then reduce to 4°C. To end ligation heat at 65oC for 10 min to inactivate the ligase.

Pooling ligations into 12-plex groups

Samples barcoded at the 3’ end by different ligation Adapters 2 (1-12) can be pooled into groups of 12. Each such group (you will end up with 8 such groups in a 96 well plate) works as a single sample sample in the subsequent Amplification and Purification.

- Use standard PCR with 15 cycles estimate the brightness of the bands on a gel. Mix 5µl (most efficient), 10, 15 or 20µl (least efficient) of each ligation in groups of twelve. (See figure 1)

For each reaction prepare the following master mix:

NFW                               		1.9 µl

10 µM IC1-P5                  		0.4 µl

10 µM IC2-P7                  		0.4 µl

10 µM Mpx primer            		0.3 µl

Phusion mastermix w/ HF buffer          10.0 µl #NEB M0531S

2.  Combine 13 µl master mix with 4 µl ligation, add 3 µl of 1 µM Ill-Rad-bc

(barcode-bearing) primer to each reaction, and amplify as follows:

70°C  30 sec
↓
95°C   20sec

x14

↓
65°C   3 min

↓
72°C   30sec

↓
4°C      Hold

- While PCR is running prepare a large (must fit 96 samples+ a few ladders) 2% agarose gel.

- Add 5uL of Orange (Green colored) loading to each well of your PCR plate, mix.

- Add 12.5uL from PCR plate to each well of the large gel.

- For the ladder add 6uL of Low Molecular Weight ladder.

- Add 15uL to the RED (+) of ethidium bromide to the buffer of the gel rig and mix before starting.

- Run at 105 volts for ~65-70mins (Check a few times while running)

- Image on gel imager.

- Estimate the brightness of the bands on a gel. Mix 5µl (most efficient), 10, 15 or 20µl (least efficient) of each ligation pool across 8 row (12 samples /columns per pool). (See figure 1)

Figure 1.

96 samples run on a test PCR of 14 cycles (cycle at which all samples produced a clear band). All samples mark 5 or unmarked are of high efficacy (5uL added to pool). Samples marked 10 are of lower efficacy (10uL added to pool).

Figure 2.

Amplification cycle test (5uL sample 2uL orange loading dye) on 2% Agarose gel using 1x TBE.

Amplification

Prepare a test-scale PCR to determine optimum cycle number and evaluate relative yield across samples.

1.  For each reaction prepare the following master mix:

NFW                               	  	 1.9 µl

10 µM IC1-P5                  	           0.4 µl

10 µM IC2-P7                 		           0.4 µl

10 µM Mpx primer           		           0.3 µl

Phusion mastermix w/ HF buffer         	 10.0 µl #NEB M0531S

2.  Combine 13 µl master mix with 4 µl ligation, add 3 µl of 1 µM Ill-Rad-bc

(barcode-bearing) primer to each reaction, and amplify as follows:

70°C  30 sec
↓
95°C   20sec

x14

↓
65°C   3 min

↓
72°C   30sec

↓
4°C      Hold

3.  Sample 5 µl from each reaction at few time points. For example, at 8, 10 and 12 cycles.  Load these products on a 2% agarose gel with a low molecular weight marker to confirm molecular weight of PCR product. (see Figure 2)

4.  Select the minimum number of cycles that produces a visible, but not over-amplified, product at ~170 bp. You might also see a 130bp band, which this seems to be an artifact from the carried-over ligase (make sure to heat-inactivate the ligase before mixing the PCR reaction

Large Scale PCR

- Prepare the following master mix for each sample:

NFW	                                                 4.75 µl

10 µM Mpx primer                               0.75 µl

10 µM IC1-P5               			  1 µl

10 µM IC2-P7                 			  1 µl

Phusion mastermix w/ HF buffer         	 25.0 µl #NEB M0531S

- Combine 30 µl master mix with 10 µl ligation (group 1-8), add 7.5 µl of 1

µM Ill-Rad-bc (barcode-bearing) primer individually to each reaction, and amplify using the temperature profile as in 2 above with the cycle number as determined in 4

Purification

In this step the target band is gel-extracted to exclude high-molecular weight fragments and any chaff that may emerge during PCR (e.g., primer dimers).

1.  Prepare a 2% agarose gel using TBE or TB.  Use a normal comb and tape together two wells such that 50 µl sample loading plus 10 µl loading dye can be accommodated.

2.  Load the entire volume of each reaction alongside a low-molecular weight ladder. Run gel at low voltage for a long time until bands at

150bp and 200bp will clearly resolved. In our experience 100V for 70 minutes produce the good separation.

3.  View the gel briefly (<30 seconds) on a UV or appropriate for your DNA dye black-light transilluminator  set at low intensity to verify the presence of target bands and adequate separation of molecular weight standards to resolve bands at ~170 bp and ~130 bp.  Typically ~5 cm run distance is sufficient.

- 4.  Cut out target band of 170 bp in a narrow gel slice, avoiding the edges of the lane (i.e., cut out the middle 70-75% of the band). Cut just inside the bottom boundary of the target band to avoid getting anything smaller than 170bp. Run the slice through a MinElute Gel Extraction Kit (cat# 28604, Qiagen)

Figure 3. Gel Extraction

Pooling for Sequencing

In this step samples pools are quantified, converted to nM, and pooled into a single library for sequencing on an Illumina platform.

- Quantify the 8 sample pools using a Qubit fluorometer, record the concentration in ng/uL.

- Calculate the nM of the sample using the following equation.

Concentration (nguL)660gmolxfragment sizex106=nM

- Pool the sample pools in equal nM concentration into a single library consisting of 30uL at 10nM.

Oligonucleotide sequences for Illumina HiSeq

Name               Sequence (5’ – 3’)

anti-ILL            AGATCGGAAGAGC/3InvdT1/

5ILL-NN           CTACACGACGCTCTTCCGATCTNN

3ILL-NN           CAGACGTGTGCTCTTCCGATCTNN

5ILL-NG2              CTACACGACGCTCTTCCGATCTNG

3ILL-NG2              CAGACGTGTGCTCTTCCGATCTNG

ILL-Mpx3               AATGATACGGCGACCACCGAGATCTACACTCTTTCCCTACACGACGCTCTTCCGAT

ILL-RAD-bc4      CAAGCAGAAGACGGCATACGAGAT [barcode]5 GTGACTGGAGTTCAGACGTGTGCTCTTCCGAT

IC1-P5                AATGATACGGCGACCACCGA

IC2-P7                CAAGCAGAAGACGGCATACGA

1 InvdT: inverted dT to prevent extension by DNA polymerase.

2 These two adaptors can be used to reduce representation of the 2b-RAD tags down to approximately 1/16th of the total number. This is a useful cost-lowering trick for applications such as basic population genetics, relatedness analysis, or QTL mapping, the power of which would max out already at a few hundred polymorphic markers.

3 This is a standard Illumina-“universal” primer in TrueSeq v.3 (configuration 5’ P5-index2- R1primingSite 3’)

4 “bc” stands for “barcode”, and is typically replaced by the barcode number (or other barcode- specific identifier) in the actual name of the primer. This primer can be substituted for a standard TruSeq v.3 barcoded oligo of the configuration 5’ P7-Index1-R2primingSite  3’.

5 barcode: a 6-base sequence easily distinguishable from other sequences on that same

sequencing run. A list of good working barcodes can be found here:

https://wikis.utexas.edu/display/GSAF/Illumina+-+all+flavors

BUT NOTE that the barcode sequences listed at that site are in fact REVERSE COMPLEMENTS relative to what needs to be written in the ILL-RAD-bc oligo (we had so many fun moments because of that)

Secondary-barcoded  adapters for Ligation

3illBC1                                                                                                                                                                            CAGACGTGTGCTCTTCCGATCT  ACCA    NN

3illBC2                                                                                                                                                                            CAGACGTGTGCTCTTCCGATCT  GTCT    NN

3illBC3                                                                                                                                                                            CAGACGTGTGCTCTTCCGATCT  TGGT    NN

3illBC4                                                                                                                                                                            CAGACGTGTGCTCTTCCGATCT  CACT    NN

3illBC5                                                                                                                                                                            CAGACGTGTGCTCTTCCGATCT  GATG    NN

3illBC6                                                                                                                                                                            CAGACGTGTGCTCTTCCGATCT  TCAC    NN

3illBC7                                                                                                                                                                            CAGACGTGTGCTCTTCCGATCT  CTGA    NN

3illBC8                                                                                                                                                                            CAGACGTGTGCTCTTCCGATCT  AAGC    NN

3illBC9                                                                                                                                                                            CAGACGTGTGCTCTTCCGATCT  GTAG    NN

3illBC10                                                                                                                                                                  CAGACGTGTGCTCTTCCGATCT  GACA    NN

3illBC11                                                                                                                                                                  CAGACGTGTGCTCTTCCGATCT  GTGA    NN

3illBC12                                                                                                                                                                  CAGACGTGTGCTCTTCCGATCT  AGTC    NN

antiBC1                                                                                                                                                                     TGGT    AGATCGGA/3InvdT/

antiBC2                                                                                                                                                                     AGAC    AGATCGGA/3InvdT/

antiBC3                                                                                                                                                                     ACCA    AGATCGGA/3InvdT/

antiBC4                                                                                                                                                                     AGTG  AGATCGGA/3InvdT/    antiBC5                                                                                                                                                                       CATC    AGATCGGA/3InvdT/    aantiBC6                                                                                                                                                                       GTGA  AGATCGGA/3InvdT/    antiBC7                                                                                                                                                                       TCAG  AGATCGGA/3InvdT/    antiBC8                                                                                                                                                                       GCTT  AGATCGGA/3InvdT/    antiBC9                                                                                                                                                                       CTAC    AGATCGGA/3InvdT/    aantiBC10                                                                                                                                                             TGTC  AGATCGGA/3InvdT/    antiBC11                                                                                                                                                             TCAC  AGATCGGA/3InvdT/    antiBC12                                                                                                                                                                     GACT  AGATCGGA/3InvdT/

Barcoded PCR primers (can be substituted for standard TruSeq v.3 oligos: 5’ P7-Index1- R2primer 3’ )

ILL-RAD01     CAA GCA GAA GAC GGC ATA CGA GAT CGT GAT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD02     CAA GCA GAA GAC GGC ATA CGA GAT ACA TCG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD03     CAA GCA GAA GAC GGC ATA CGA GAT GCC TAA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD04     CAA GCA GAA GAC GGC ATA CGA GAT TGG TCA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD05     CAA GCA GAA GAC GGC ATA CGA GAT CAC TGT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD06     CAA GCA GAA GAC GGC ATA CGA GAT ATT GGC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD07     CAA GCA GAA GAC GGC ATA CGA GAT GAT CTG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD08     CAA GCA GAA GAC GGC ATA CGA GAT TCA AGT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD09     CAA GCA GAA GAC GGC ATA CGA GAT CTG ATC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD10     CAA GCA GAA GAC GGC ATA CGA GAT AAG CTA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD11     CAA GCA GAA GAC GGC ATA CGA GAT GTA GCC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD12     CAA GCA GAA GAC GGC ATA CGA GAT TAC AAG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD13     CAA GCA GAA GAC GGC ATA CGA GAT TTG ACT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD14     CAA GCA GAA GAC GGC ATA CGA GAT GGA ACT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD15     CAA GCA GAA GAC GGC ATA CGA GAT TGA CAT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD16     CAA GCA GAA GAC GGC ATA CGA GAT GGA CGG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD17     CAA GCA GAA GAC GGC ATA CGA GAT CTC TAC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD18     CAA GCA GAA GAC GGC ATA CGA GAT GCG GAC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD19     CAA GCA GAA GAC GGC ATA CGA GAT TTT CAC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD20     CAA GCA GAA GAC GGC ATA CGA GAT GGC CAC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD21     CAA GCA GAA GAC GGC ATA CGA GAT CGA AAC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD22     CAA GCA GAA GAC GGC ATA CGA GAT CGT ACG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD23     CAA GCA GAA GAC GGC ATA CGA GAT CCA CTC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD24     CAA GCA GAA GAC GGC ATA CGA GAT GCT ACC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD25     CAA GCA GAA GAC GGC ATA CGA GAT ATC AGT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD26     CAA GCA GAA GAC GGC ATA CGA GAT GCT CAT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD27     CAA GCA GAA GAC GGC ATA CGA GAT AGG AAT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD28     CAA GCA GAA GAC GGC ATA CGA GAT CTT TTG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD29     CAA GCA GAA GAC GGC ATA CGA GAT TAG TTG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD30     CAA GCA GAA GAC GGC ATA CGA GAT CCG GTG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD31     CAA GCA GAA GAC GGC ATA CGA GAT ATC GTG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD32     CAA GCA GAA GAC GGC ATA CGA GAT TGA GTG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD33     CAA GCA GAA GAC GGC ATA CGA GAT CGC CTG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD34     CAA GCA GAA GAC GGC ATA CGA GAT GCC ATG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD35     CAA GCA GAA GAC GGC ATA CGA GAT AAA ATG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD36     CAA GCA GAA GAC GGC ATA CGA GAT TGT TGG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD37     CAA GCA GAA GAC GGC ATA CGA GAT ATT CCG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD38     CAA GCA GAA GAC GGC ATA CGA GAT AGC TAG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD39     CAA GCA GAA GAC GGC ATA CGA GAT GTA TAG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT

ILL-RAD40     CAA GCA GAA GAC GGC ATA CGA GAT TCT GAG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD41     CAA GCA GAA GAC GGC ATA CGA GAT GTC GTC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD42     CAA GCA GAA GAC GGC ATA CGA GAT TAG CGC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD43     CAA GCA GAA GAC GGC ATA CGA GAT CGA TTA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD44     CAA GCA GAA GAC GGC ATA CGA GAT GCT GTA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD45     CAA GCA GAA GAC GGC ATA CGA GAT ATT ATA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD46     CAA GCA GAA GAC GGC ATA CGA GAT GAA TGA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD47     CAA GCA GAA GAC GGC ATA CGA GAT TCG GGA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD48     CAA GCA GAA GAC GGC ATA CGA GAT CTT CGA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD49     CAA GCA GAA GAC GGC ATA CGA GAT TGC CGA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD50     CAA GCA GAA GAC GGC ATA CGA GAT GTG TTT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD51     CAA GCA GAA GAC GGC ATA CGA GAT CCT TCA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD52     CAA GCA GAA GAC GGC ATA CGA GAT TAT GTT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD53     CAA GCA GAA GAC GGC ATA CGA GAT GAC GCG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD54     CAA GCA GAA GAC GGC ATA CGA GAT TGT ATC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD55     CAA GCA GAA GAC GGC ATA CGA GAT CAC ACC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD56     CAA GCA GAA GAC GGC ATA CGA GAT TTC TTA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD57     CAA GCA GAA GAC GGC ATA CGA GAT CTC GCT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD58     CAA GCA GAA GAC GGC ATA CGA GAT TAA CCG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD59     CAA GCA GAA GAC GGC ATA CGA GAT AAA GCT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD60     CAA GCA GAA GAC GGC ATA CGA GAT AGA CCA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD61     CAA GCA GAA GAC GGC ATA CGA GAT GGG ATA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD62     CAA GCA GAA GAC GGC ATA CGA GAT ACG ACA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD63     CAA GCA GAA GAC GGC ATA CGA GAT GTG GGG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD64     CAA GCA GAA GAC GGC ATA CGA GAT TCG TAT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD65     CAA GCA GAA GAC GGC ATA CGA GAT CAA GGG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD66     CAA GCA GAA GAC GGC ATA CGA GAT GCC GGT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD67     CAA GCA GAA GAC GGC ATA CGA GAT CAG TAA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD68     CAA GCA GAA GAC GGC ATA CGA GAT AGT TCC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD69     CAA GCA GAA GAC GGC ATA CGA GAT AAT AAC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD70     CAA GCA GAA GAC GGC ATA CGA GAT ACT TTT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD71     CAA GCA GAA GAC GGC ATA CGA GAT TCC CTT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD72     CAA GCA GAA GAC GGC ATA CGA GAT ATA CTT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD73     CAA GCA GAA GAC GGC ATA CGA GAT AGA TGT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD74     CAA GCA GAA GAC GGC ATA CGA GAT AAT CGT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD75     CAA GCA GAA GAC GGC ATA CGA GAT CGG CGT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD76     CAA GCA GAA GAC GGC ATA CGA GAT GAG AGT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD77     CAA GCA GAA GAC GGC ATA CGA GAT GAT TCT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD78     CAA GCA GAA GAC GGC ATA CGA GAT CCC AAT GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD79     CAA GCA GAA GAC GGC ATA CGA GAT ACG CGG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD80     CAA GCA GAA GAC GGC ATA CGA GAT AGG GCG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD81     CAA GCA GAA GAC GGC ATA CGA GAT CTG CAG GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD82     CAA GCA GAA GAC GGC ATA CGA GAT AAC TTC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD83     CAA GCA GAA GAC GGC ATA CGA GAT GGG TGC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD84     CAA GCA GAA GAC GGC ATA CGA GAT TCC TGC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD85     CAA GCA GAA GAC GGC ATA CGA GAT CGC GGC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD86     CAA GCA GAA GAC GGC ATA CGA GAT ACC GCC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD87     CAA GCA GAA GAC GGC ATA CGA GAT TAA TAC GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD88     CAA GCA GAA GAC GGC ATA CGA GAT CAC GTA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD89     CAA GCA GAA GAC GGC ATA CGA GAT ATG TGA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD90     CAA GCA GAA GAC GGC ATA CGA GAT TAT AGA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD91     CAA GCA GAA GAC GGC ATA CGA GAT TTT GCA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD92     CAA GCA GAA GAC GGC ATA CGA GAT GTG CCA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD93     CAA GCA GAA GAC GGC ATA CGA GAT CTA ACA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT ILL-RAD94     CAA GCA GAA GAC GGC ATA CGA GAT ATA GAA GTG ACT GGA GTT CAG ACG TGT GCT CTT CCG AT